## HIE
Srl No | Ordering Facility | FACILITY | Assigned Patient Location(PV1¦3) | Provider PV1¦7 | Patient TypePV¦18 | Patient StatusPV¦41 | If they are future orders Patient StatusPV¦41 | XLOCATION | Order Site | Site Name | Perform Site(CD4&Viral Load) | From Order to Perform site | Tests | Medical Record No | Account No | IPMS MNEMONICS | HIE MNEMONICS | Patient Name | Omang NumberPID¦19 | ADT Pass/Fail | LAB Tested ORD IN RES OUT | Pass/Fail
0 | Mopane | GGC | HGGMMO | ZZHGGMMO | POV | REG | PRE | HGGMMO | GGCNKAL | Nkaikela Lab | GHIV | site Batches | CD4 | GG | ZG | CD4% |  | TestPatient4,Testing
| Mafitlhakgosi Clinic | GGC | XMAFITC | ZZGGCNKA | POV | REG | PRE | XMAFITC | GGCNKAL | Nkaikela Lab | GHIV | site Batches | CD4 | GG | ZG | CD4%
| Khayakholo Health Post | GGC | XKHAYAHP | ZZGGCNKA | POV | REG | PRE | XKHAYAHP | GGCNKAL | Nkaikela Lab | GHIV | site Batches | VL VL COUNT | GG | ZG | ZHIVVL ZHIVCOUNT | ZHIVVL
| Extention 15 clinic | GGC | XEXTE15 | ZZGGCJUM | POV | REG | PRE | XEXTE15 | GGCJULL | Julia Molefe Lab | GHIV | site Batches | TBGENEXPERT | GG | ZG
| Phase 2 clinic | GGC | XPHASEIIC | ZZGGCJUM | POV | REG | PRE | XPHASEIIC | GGCJULL | Julia Molefe Lab | GHIV | site Batches | HESR | GG | ZG | HESR
1 | Morwa Clinic | DM | XMORWAC | ZZKGADRM | CLI | REG | PRE | XMORWAC | DRML | Debora Retief Memorial Hospital Lab | DRML | site Batches | HESR | DM | DA | HESR |  | TestPatient3,Testing |  | Y | Y | Pass
2 | Gabane Health Post | GGC | XGABAHP | ZZGGCLES | POV | REG | PRE | XGABAHP | GGCLESL | Lesirane Lab | GHIV | site Batches | CD4 | GG | ZG | CD4% |  | TestPatient15,Testing |  | Y | Y | Pass
3 | Moshupa SDA Clinic | KS | XMOSHUSDAC | ZZSOUKSDA | CLI | REG | PRE | XMOSHUSDAC | KSL | Kanye Hospital Lab | KSL | site Batches | VL VL COUNT | KS | KA | CD4% |  | TestPatient4,Testing |  | Y | Y | Pass
4 | Thebephatshwa Hospital | SL | XTHEBEH | ZZKWESLH | CLI | REG | PRE | XTHEBEH | SLL | Scottish Livingston | SLL | site Batches | TBGENEXPERT | LM | LA | CD4% | MTBGENXPERT | TestPatient5,Testing |  | Y | Y | Pass
5 | Glen Valey BDF Clinic | PM | XBDFGLV | ZZGGCPMH | CLI | REG | PRE | XBDFGLV | GHIV | Havard Lab | GHIV | site Batches | HESR | PM | PA | HESR |  | TestPatient6,Testing |  | Y | Y | Pass
6 | Lesetlhana Clinic | BL | XLESETC | ZZGGCBLH | CLI | REG | PRE | XLESETC | BLL | Bamalete Lab | BLL | site Batches | HESR | BL | IA | HESR
Yellow = sample message
Red = unvalidated
| PV¦18 (Patient Type) |  | PV¦41 (Patient Status)
| CLI - Clinical Outpatient |  | SCH - Scheduled
| ER - Emergency Room Patient |  | PRE - Preadmitted
| IN - Inpatient |  | DEP - Departed"
| REF - Referred Outpatient |  | DIS - Discharged

## Testing Matrix
|  | ADT Interface Expectations and Outcomes | [8 empty] | LAB Interface Expectations and Outcomes
|  | OV to IPMS |  |  | Expected Outcomes in IPMS Generates |  | IPMS Applications |  | IPMS to OV |  | OV to IPMS |  |  | Expected Outcomes in IPMS Generates |  | IPMS Applications |  | IPMS to OV |  | ADT Pass/Fail | LAB Pass/Fail
Srl | Testing Scenarios | Message Type | Message requirement | Ordering Facility | MR No | Account Number | Confirm Patient in ADM | Confirm Patient in PCM/EMR | Message Type | Message Structure | Message Type | Message Requirement | Ordering Facility | MR No | Account Number | Confirm Patient in ADM | Confirm Patient in PCM/EMR | Message Type | Message Structure
1 | New Patient | Inbound from OV | PID¦3 - New |  | Generate New MR |  |  |  | Outbound from MT | PID¦3 MR PID¦18 ACC | [9 empty] | Pass | Pass
2 | Existing Patient | Inbound from OV | PID¦3 - MR number |  | Use Existing | [14 empty] | TBC | TBC
3 | New patient with 1 visit and multiple orders on same day | [18 empty] | TBC | TBC
4 | New patient with multiple visits and multiple orders on same day | [18 empty] | TBC | TBC
5 | New patient with ordering facility different to performing facility | [18 empty] | TBC | TBC
6 | Patient future orders | [18 empty] | TBC | TBC

## Testing Output
Srl No | New Patient | Existing Patient | Patient Name | Facility | Medical Record mnemonic | Account mnemonic | Patient MR No | Patient Account No | ADT Inbound from HIE to IPMS | ADT Outbound from IPMS to HIE | LAB Inbound from HIE to IPMS | LAB Outbound from IPMS to HIE | ADT Update Outbound from IPMS to HIE
1 | y |  | TestPatient3,Testing | DM | DM | DA | DM00001928 | DA0000002741 | MSH¦^~\&¦DM¦¦¦¦20230510¦¦ADT^A04¦cdd96dc1-b7b6-45db-97d8-517d32d81ba4¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦20230510¦¦¦ZZHGGMMO^Healthpost^Mmopane¦20230510¦ PID¦1¦¦NEW¦¦TestPatient3^Testing^^^^^F¦¦20101211¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023^^^testpatient@mail.com¦791609023¦¦M¦AC¦¦549222204¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦DM¦¦REG¦¦¦20230510¦ ROL¦1¦AD¦AT¦3m9g5drot6k^^¦ | MSH¦^~\&¦ADM¦¦¦¦202305100940¦¦ADT^A04¦284333¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦202305100940¦¦¦INFCE^INTERFACE¦202305100000¦ PID¦1¦¦DM00001928^^^^MR^DM~549222204^^^^SS^DM~DM1884^^^^PI^DM~TEST0104901^^^^HUB^DM¦¦TestPatient3^Testing^^^^^L¦¦20101211¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023¦¦¦M¦¦DA0000002741¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦DM¦¦REG¦¦¦202305100000¦ PV2¦¦¦¦¦¦¦¦¦¦¦1¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦N¦ ROL¦1¦AD¦AT¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦ | MSH¦^~\&¦LAB¦¦LAB¦¦20230510¦¦ORM^O01¦53ebe327-108f-401c-ba34-811c7e8f6f91¦D¦2.4¦¦¦AL¦NE¦ PID¦1¦¦DM00001928^^^^MR^GGC~549222204^^^^SS^GGC~DM1884^^^^PI^GGC~TEST0104901^^^^HUB^GGC¦¦TestPatient3^Testing^^^^^L¦¦20101211¦female¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦¦¦DA0000002741¦ ORC¦NW¦exngqilwj6h^LAB¦DM00001928¦¦FINAL¦¦^^^^^R^¦¦20230510075946¦¦¦ OBR¦1¦exngqilwj6h^LAB¦¦HESR^ERYTHROCYTE SEDIMENTATION RATE¦R¦20230510075946¦20230510075946¦¦¦¦¦¦¦^^¦3m9g5drot6k^^^^^^^¦¦ | MSH¦^~\&¦LAB¦DM¦¦¦202305101006¦¦ORU^R01¦165619.1¦D¦ PID¦1¦TEST0104901¦DM00001928^^^^MR^DM~549222204^^^^SS^DM~DM1884^^^^PI^DM~TEST0104901^^^^HUB^DM¦¦TestPatient3^Testing¦¦20101211¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦M¦¦DA0000002741¦ OBR¦1¦exngqilwj6h^LAB¦73882^LAB¦HESR^ERYTHROCYTE SEDIMENTATION RATE^L¦¦¦202305100759¦¦¦¦¦¦¦202305100954¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053800¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦HESR^ERYTHROCYTE SEDIMENTATION RATE^L¦¦21¦mm/hr¦0-25¦N¦¦A^S¦F¦¦¦202305101005¦GGCLESL^GGC Lesirane Laboratory^L¦
2 | y |  | TestPatient15,Testing | GGC | GG | ZG | GG00042759 | ZG0000044524 | MSH¦^~\&¦DM¦¦¦¦20230509¦¦ADT^A04¦100ae510-63f1-4019-b0c1-413edeec421c¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦20230509¦¦¦ZZHGGMMO^Healthpost^Mmopane¦20230509¦ PID¦1¦¦NEW¦¦TestPatient15^Testing^^^^^F¦¦20191227¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023^^^testpatient@mail.com¦791609023¦¦M¦AC¦¦403725959¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦GGC¦¦REG¦¦¦20230509¦ ROL¦1¦AD¦AT¦l1e0jc6n5b^^¦ | MSH¦^~\&¦ADM¦¦¦¦202305091700¦¦ADT^A04¦284327¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦202305091700¦¦¦INFCE^INTERFACE¦202305090000¦ PID¦1¦¦GG00042759^^^^MR^GGC~403725959^^^^SS^GGC~GG42644^^^^PI^GGC~TEST0104900^^^^HUB^GGC¦¦TestPatient15^Testing^^^^^L¦¦20191227¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023¦¦¦M¦¦ZG0000044524¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦GGC¦¦REG¦¦¦202305090000¦ PV2¦¦¦¦¦¦¦¦¦¦¦1¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦N¦ ROL¦1¦AD¦AT¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦ | MSH¦^~\&¦LAB¦¦LAB¦¦20230509¦¦ORM^O01¦f418ae21-7311-4950-a7b1-cea5d92330cc¦D¦2.4¦¦¦AL¦NE¦ PID¦1¦¦GG00042759^^^^MR^GGC~403725959^^^^SS^GGC~GG42644^^^^PI^GGC~TEST0104900^^^^HUB^GGC¦¦TestPatient15^Testing^^^^^L¦¦20191227¦female¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦¦¦ZG0000044524¦ ORC¦NW¦98gbrh4rysb^LAB¦GG00042759¦¦FINAL¦¦^^^^^R^¦¦20230509150545¦¦¦ OBR¦1¦98gbrh4rysb^LAB¦¦ZCD4%^CD4%¦R¦20230509150545¦20230509150545¦¦¦¦¦¦¦^^¦l1e0jc6n5b^^^^^^^¦¦ | MSH¦^~\&¦LAB¦GGC¦¦¦202305100907¦¦ORU^R01¦165618.1¦D¦ PID¦1¦TEST0104900¦GG00042759^^^^MR^GGC~403725959^^^^SS^GGC~GG42644^^^^PI^GGC~TEST0104900^^^^HUB^GGC¦¦TestPatient15^Testing¦¦20191227¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦M¦¦ZG0000044524¦ OBR¦1¦98gbrh4rysb^LAB¦73880^LAB¦ZCD4%^CD4%^L¦¦¦202305091505¦¦¦¦¦¦¦202305100901¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053798¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦ZCD4%^CD4%^L¦¦50¦%¦32-57¦N¦¦A^S¦F¦¦¦202305100906¦GHIV^HIV Reference Laboratory^L¦ OBR¦2¦98gbrh4rysb^LAB¦73880^LAB¦CD4 REVIEW^CD4 REVIEW^L¦¦¦202305091505¦¦¦¦¦¦¦202305100901¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053798¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦CD4 REVIEW^CD4 REVIEW^L¦¦.¦¦¦N¦¦A^S¦F¦¦¦202305100907¦GHIV^HIV Reference Laboratory^L¦ NTE¦1¦ NTE¦2¦ NTE¦3¦¦CD4 Tests Authorised by : MEDITECH¦ NTE¦4¦¦Authorised Date: 10/05/23 0907¦ NTE¦5¦ NTE¦6¦¦***MOTE: REFERANCE RANGES HAVE BEEN CHANGED!!!***¦
3 | y |  | TestPatient4,Testing | KS | KS | KA | KS00003147 | KA0000003297 | MSH¦^~\&¦DM¦¦¦¦20230509¦¦ADT^A04¦77187b75-7cd1-4460-b6f0-d10042030c6b¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦20230509¦¦¦ZZHGGMMO^Healthpost^Mmopane¦20230509¦ PID¦1¦¦NEW¦¦TestPatient4^Testing^^^^^F¦¦20080327¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023^^^testpatient@mail.com¦791609023¦¦M¦AC¦¦377321032¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦KS¦¦REG¦¦¦20230509¦ ROL¦1¦AD¦AT¦9znplev7w66^^¦ | MSH¦^~\&¦ADM¦¦¦¦202305101019¦¦ADT^A04¦284336¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦202305101018¦¦¦INFCE^INTERFACE¦202305100000¦ PID¦1¦¦KS00003147^^^^MR^KS~873521825^^^^SS^KS~KS3040^^^^PI^KS~TEST0104902^^^^HUB^KS¦¦TestPatient4^Testing^^^^^L¦¦19840505¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023¦¦¦M¦¦KA0000003297¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦KS¦¦REG¦¦¦202305100000¦ PV2¦¦¦¦¦¦¦¦¦¦¦1¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦N¦ ROL¦1¦AD¦AT¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦ | MSH¦^~\&¦LAB¦¦LAB¦¦20230510¦¦ORM^O01¦662e30b7-8bc7-4dba-9e21-2f94665839d6¦D¦2.4¦¦¦AL¦NE¦ PID¦1¦¦KS00003147^^^^MR^GGC~873521825^^^^SS^GGC~KS3040^^^^PI^GGC~TEST0104902^^^^HUB^GGC¦¦TestPatient4^Testing^^^^^L¦¦19840505¦female¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦¦¦KA0000003297¦ ORC¦NW¦f8x4m0k217a^LAB¦KS00003147¦¦FINAL¦¦^^^^^R^¦¦20230510083625¦¦¦ OBR¦1¦f8x4m0k217a^LAB¦¦ZCD4%^CD4%¦R¦20230510083625¦20230510083625¦¦¦¦¦¦¦^^¦scnbll4ny8p^^^^^^^¦¦ | MSH¦^~\&¦LAB¦KS¦¦¦202305101026¦¦ORU^R01¦165621.1¦D¦ PID¦1¦TEST0104902¦KS00003147^^^^MR^KS~873521825^^^^SS^KS~KS3040^^^^PI^KS~TEST0104902^^^^HUB^KS¦¦TestPatient4^Testing¦¦19840505¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦M¦¦KA0000003297¦ OBR¦1¦f8x4m0k217a^LAB¦73883^LAB¦CD4%^CD4%^L¦¦¦202305100836¦¦¦¦¦¦¦202305101021¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053801¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦CD4%^CD4%^L¦¦35¦%¦32-57¦N¦¦A^S¦F¦¦¦202305101026¦GHIV^HIV Reference Laboratory^L¦ OBR¦2¦f8x4m0k217a^LAB¦73883^LAB¦CD4 REVIEW^CD4 REVIEW^L¦¦¦202305100836¦¦¦¦¦¦¦202305101021¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053801¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦CD4 REVIEW^CD4 REVIEW^L¦¦.¦¦¦N¦¦A^S¦F¦¦¦202305101026¦GHIV^HIV Reference Laboratory^L¦ NTE¦1¦ NTE¦2¦ NTE¦3¦¦CD4 Tests Authorised by : MEDITECH¦ NTE¦4¦¦Authorised Date: 10/05/23 1026¦ NTE¦5¦ NTE¦6¦¦***MOTE: REFERANCE RANGES HAVE BEEN CHANGED!!!***¦
4 | y |  | TestPatient5,Testing | SL | LM | LA | LM00071303 | LA0000002011 | MSH¦^~\&¦DM¦¦¦¦20230510¦¦ADT^A04¦1f470c82-7f0b-4331-b416-73dc35fa3eac¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦20230510¦¦¦ZZHGGMMO^Healthpost^Mmopane¦20230510¦ PID¦1¦¦NEW¦¦TestPatient5^Testing^^^^^F¦¦19991225¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023^^^testpatient@mail.com¦791609023¦¦M¦AC¦¦233325370¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦SL¦¦REG¦¦¦20230510¦ ROL¦1¦AD¦AT¦uqahaw43pt^^¦ | MSH¦^~\&¦ADM¦¦¦¦202305101032¦¦ADT^A04¦284342¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦202305101031¦¦¦INFCE^INTERFACE¦202305100000¦ PID¦1¦¦LM00071303^^^^MR^SL~233325370^^^^SS^SL~LM37249^^^^PI^SL~TEST0104903^^^^HUB^SL¦¦TestPatient5^Testing^^^^^L¦¦19991225¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023¦¦¦M¦¦LA0000002011¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦SL¦¦REG¦¦¦202305100000¦ PV2¦¦¦¦¦¦¦¦¦¦¦1¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦N¦ ROL¦1¦AD¦AT¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦ | MSH¦^~\&¦LAB¦¦LAB¦¦20230510¦¦ORM^O01¦85409217-3b14-41d7-9343-e441b92bfee3¦D¦2.4¦¦¦AL¦NE¦ PID¦1¦¦LM00071303^^^^MR^GGC~233325370^^^^SS^GGC~LM37249^^^^PI^GGC~TEST0104903^^^^HUB^GGC¦¦TestPatient5^Testing^^^^^L¦¦19991225¦female¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦¦¦LA0000002011¦ ORC¦NW¦u0dksu655mp^LAB¦LM00071303¦¦FINAL¦¦^^^^^R^¦¦20230510085036¦¦¦ OBR¦1¦u0dksu655mp^LAB¦¦ZCD4%^CD4%¦R¦20230510085036¦20230510085036¦¦¦¦¦¦¦^^¦uqahaw43pt^^^^^^^¦¦ | MSH¦^~\&¦LAB¦KS¦¦¦202305101042¦¦ORU^R01¦165623.1¦D¦ PID¦1¦TEST0104889¦KS00003145^^^^MR^KS~787322388^^^^SS^KS~KS3038^^^^PI^KS~TEST0104889^^^^HUB^KS¦¦TestPatient5^Testing¦¦19860228¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦M¦¦KA0000003295¦ OBR¦1¦66qscdyxf0g^LAB¦73857^LAB¦CD4%^CD4%^L¦¦¦202305091041¦¦¦¦¦¦¦202305101036¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053782¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦CD4%^CD4%^L¦¦25¦%¦32-57¦L¦¦A^S¦F¦¦¦202305101042¦GHIV^HIV Reference Laboratory^L¦
5 | y |  | TestPatient6,Testing | PM | PM | PA |  |  | MSH¦^~\&¦DM¦¦¦¦20230510¦¦ADT^A04¦20aa4c48-1716-4cdf-ae35-33cb58ac2d8c¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦20230510¦¦¦ZZHGGMMO^Healthpost^Mmopane¦20230510¦ PID¦1¦¦NEW¦¦TestPatient6^Testing^^^^^F¦¦20000423¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023^^^testpatient@mail.com¦791609023¦¦M¦AC¦¦110828321¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦PM¦¦REG¦¦¦20230510¦ ROL¦1¦AD¦AT¦w7v9qui2jr^^¦ | MSH¦^~\&¦ADM¦¦¦¦202305101046¦¦ADT^A04¦284346¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦202305101046¦¦¦INFCE^INTERFACE¦202305100000¦ PID¦1¦¦PM00658302^^^^MR^PM~110828321^^^^SS^PM~PM346845^^^^PI^PM~TEST0104904^^^^HUB^PM¦¦TestPatient6^Testing^^^^^L¦¦20000423¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023¦¦¦M¦¦PA0000003802¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦PM¦¦REG¦¦¦202305100000¦ PV2¦¦¦¦¦¦¦¦¦¦¦1¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦N¦ ROL¦1¦AD¦AT¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦ | MSH¦^~\&¦LAB¦¦LAB¦¦20230510¦¦ORM^O01¦d4f1866d-dc06-4b3d-aa6f-37cfad641fa4¦D¦2.4¦¦¦AL¦NE¦ PID¦1¦¦PM00658302^^^^MR^GGC~110828321^^^^SS^GGC~PM346845^^^^PI^GGC~TEST0104904^^^^HUB^GGC¦¦TestPatient6^Testing^^^^^L¦¦20000423¦female¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦¦¦PA0000003802¦ ORC¦NW¦lyqgq3y4mh9^LAB¦PM00658302¦¦FINAL¦¦^^^^^R^¦¦20230510090607¦¦¦ OBR¦1¦lyqgq3y4mh9^LAB¦¦HESR^ERYTHROCYTE SEDIMENTATION RATE¦R¦20230510090607¦20230510090607¦¦¦¦¦¦¦^^¦w7v9qui2jr^^^^^^^¦¦ | MSH¦^~\&¦LAB¦PM¦¦¦202305101051¦¦ORU^R01¦165625.1¦D¦ PID¦1¦TEST0104904¦PM00658302^^^^MR^PM~110828321^^^^SS^PM~PM346845^^^^PI^PM~TEST0104904^^^^HUB^PM¦¦TestPatient6^Testing¦¦20000423¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦M¦¦PA0000003802¦ OBR¦1¦lyqgq3y4mh9^LAB¦73885^LAB¦HESR^ERYTHROCYTE SEDIMENTATION RATE^L¦¦¦202305100906¦¦¦¦¦¦¦202305101048¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053803¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦HESR^ERYTHROCYTE SEDIMENTATION RATE^L¦¦15¦mm/hr¦0-25¦N¦¦A^S¦F¦¦¦202305101051¦GHIV^HIV Reference Laboratory^L¦
6 | y |  | TestPatient7,Testing | BL | BL | IA | BL00002072 | A0000002598 | MSH¦^~\&¦DM¦¦¦¦20230510¦¦ADT^A04¦81e872bc-3241-4ffc-9bdf-311544104fa6¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦20230510¦¦¦ZZHGGMMO^Healthpost^Mmopane¦20230510¦ PID¦1¦¦NEW¦¦TestPatient7^Testing^^^^^F¦¦20030220¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023^^^testpatient@mail.com¦791609023¦¦M¦AC¦¦364522003¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦BL¦¦REG¦¦¦20230510¦ ROL¦1¦AD¦AT¦0l7u8rvf84sd^^¦ | MSH¦^~\&¦ADM¦¦¦¦202305101122¦¦ADT^A04¦284352¦D¦2.4¦¦¦AL¦NE¦ EVN¦¦202305101122¦¦¦INFCE^INTERFACE¦202305100000¦ PID¦1¦¦BL00002073^^^^MR^BL~364522003^^^^SS^BL~BL2028^^^^PI^BL~TEST0104906^^^^HUB^BL¦¦TestPatient7^Testing^^^^^L¦¦20030220¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦791609023¦¦¦M¦¦IA0000002599¦ PV1¦1¦O¦HGGMMO¦¦¦¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦¦¦¦¦¦¦¦¦¦¦POV¦¦U¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦BL¦¦REG¦¦¦202305100000¦ PV2¦¦¦¦¦¦¦¦¦¦¦1¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦¦N¦ ROL¦1¦AD¦AT¦ZZHGGMMO^Healthpost^Mmopane^^^^^^^^^^XX¦ | MSH¦^~\&¦LAB¦¦LAB¦¦20230510¦¦ORM^O01¦782cd2ab-338d-4d82-8613-58b3875310ef¦D¦2.4¦¦¦AL¦NE¦ PID¦1¦¦BL00002072^^^^MR^GGC~364522003^^^^SS^GGC~BL2027^^^^PI^GGC~TEST0104905^^^^HUB^GGC¦¦TestPatient7^Testing^^^^^L¦¦20030220¦female¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦¦¦IA0000002598¦ ORC¦NW¦gft27g55nac^LAB¦BL00002072¦¦FINAL¦¦^^^^^R^¦¦20230510091208¦¦¦ OBR¦1¦gft27g55nac^LAB¦¦HESR^ERYTHROCYTE SEDIMENTATION RATE¦R¦20230510091208¦20230510091208¦¦¦¦¦¦¦^^¦0l7u8rvf84sd^^^^^^^¦¦ | MSH¦^~\&¦LAB¦BL¦¦¦202305101110¦¦ORU^R01¦165626.1¦D¦ PID¦1¦TEST0104905¦BL00002072^^^^MR^BL~364522003^^^^SS^BL~BL2027^^^^PI^BL~TEST0104905^^^^HUB^BL¦¦TestPatient7^Testing¦¦20030220¦F¦¦CT¦Plot 40095^^Gaborone^B^0101¦¦¦¦¦M¦¦IA0000002598¦ OBR¦1¦gft27g55nac^LAB¦73886^LAB¦HESR^ERYTHROCYTE SEDIMENTATION RATE^L¦¦¦202305100912¦¦¦¦¦¦¦202305101108¦¦ZZHGGMMO^Healthpost^Mmopane¦¦00053804¦¦¦¦¦¦LAB¦F¦¦^^^^^R¦ OBX¦1¦ST¦HESR^ERYTHROCYTE SEDIMENTATION RATE^L¦¦10¦mm/hr¦0-25¦N¦¦A^S¦F¦¦¦202305101110¦BLL^Bamalete Lutheran Laboratory^L¦
7 |  | y | TestPatient7,Testing | BL | BL | IA | BL00002072